Lesson Plan

Name of Faculty:	Arshad Jamal

Discipline:	Electronics and Communication Engineering

Semester:	5th

Subject:	Instrumentation

Lesson Plan Duration: 16 weeks (20th August 2024 to 6th December 2024)

Work Load (Lecture /Practical) per week in hours: Lecture: 3 Practical: 4

| Week |  |  | Theory |  |  | Practical |
| --- | --- | --- | --- | --- | --- | --- |
|  | Lecture |  | Topic (Including |  | Practical | Topic |
|  | Day |  | assignment/test) |  | Day |  |
|  | 1st | Introduction to Measurements |  |  | 1st (G1) | Introduction to Lab Equipments |
| 1st | 2nd | Importance of measurement, |  |  | 2nd (G2) | Introduction to Lab Equipments |
|  |  | basic measuring systems |  |  |  |  |
|  | 3rd | Advantages and limitations of |  |  |  |  |
|  |  | each measuring |  | systems and |  |  |
|  |  | display devices |  |  |  |  |
|  | 4th | Introduction to Transducers. |  |  | 3rd (G1) | To measure temperature using a |
|  |  | Theory, construction and use |  |  |  | thermocouple/PTO/temperature |
|  |  | of transducers (resistance |  |  |  | Sensor. |
|  |  | type) |  |  |  |  |
| 2nd | 5th | Theory, construction and use |  |  | 4th (G2) | To measure temperature using a |
|  |  | of | transducers | (inductance |  | thermocouple/PTO/temperature |
|  |  | type) |  |  |  | Sensor. |
|  | 6th | Theory, construction and use |  |  |  |  |
|  |  | of | transducers | (capacitance |  |  |
|  |  | type) |  |  |  |  |
|  | 7th | Theory, construction and use |  |  | 5th (G1) | Revision |
|  |  | of |  | transducers |  |  |
|  |  | (electromagnetic type) |  |  |  |  |
| 3rd | 8th | Theory, construction and use |  |  | 6th (G2) | Revision |
|  |  | of | transducers (piezo electric |  |  |  |
|  |  | type) |  |  |  |  |
|  | 9th | Introduction to Measurement |  |  |  |  |
|  |  | of Displacement and Strain |  |  |  |  |
|  | 10th | Displacement Measuring |  |  | 7th (G1) | Study and use of digital |
|  |  | Devices: wire wound |  |  |  | temperature controller |
|  |  | potentiometer, LVDT |  |  |  |  |
| 4th | 11th | Displacement Measuring |  |  | 8th (G2) | Study and use of digital |
|  |  | Devices: strain gauges |  |  |  | temperature controller |
|  | 12th | Inductance type wire wound |  |  |  |  |
|  |  | potentiometer, LVDT, strain |  |  |  |  |
|  |  | gauges |  |  |  |  |

|  | 13th | Resistive type wire wound |  |  |  |  |  |  | 9th (G1) | Revision |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | potentiometer, LVDT, strain |  |  |  |  |  |  |  |  |  |  |  |
|  |  | gauges |  |  |  |  |  |  |  |  |  |  |  |
| 5th | 14th | Wire and foil type wire |  |  |  |  |  |  | 10th | Revision |  |  |  |
|  |  | wound potentiometer, LVDT, |  |  |  |  |  |  | (G2) |  |  |  |  |
|  |  | strain gauges |  |  |  |  |  |  |  |  |  |  |  |
|  | 15th | Gauge factor, gauge materials |  |  |  |  |  |  |  |  |  |  |  |
|  |  | and their selections. |  |  |  |  |  |  |  |  |  |  |  |
|  | 16th | Use of electrical strain |  |  |  |  |  |  | 11th | Use of thermistor in ON/OFF |  |  |  |
|  |  | gauges, strain gauge bridges |  |  |  |  |  |  | (G1) | transducer |  |  |  |
|  |  | and amplifiers. |  |  |  |  |  |  |  |  |  |  |  |
| 6th | 17th | Introduction to Force and |  |  |  |  |  |  | 12th | Use of thermistor in ON/OFF |  |  |  |
|  |  | Torque Measurement |  |  |  |  |  |  | (G2) | transducer |  |  |  |
|  | 18th | Different | types |  |  | of | force |  |  |  |  |  |  |
|  |  | measuring | devices |  |  | and | their |  |  |  |  |  |  |
|  |  | principles |  |  |  |  |  |  |  |  |  |  |  |
|  | 19th | Different | types |  |  | of | force |  | 13th | Study | of | variable | capacitive |
|  |  | measuring | devices |  |  | and | their |  | (G1) | transducer/proximity Switches |  |  |  |
| 7th |  | principles...contd |  |  |  |  |  |  |  |  |  |  |  |
|  | 20th | Load measurements by using |  |  |  |  |  |  | 14th | Study | of | variable | capacitive |
|  |  | elastic | transducers |  |  |  |  | and | (G2) | transducer/proximity Switches |  |  |  |
|  |  | electrical strain gauges |  |  |  |  |  |  |  |  |  |  |  |
|  | 21st | Load cells |  |  |  |  |  |  |  |  |  |  |  |
|  | 22nd | Measurements |  | of | torque |  |  | by | 15th | Revision |  |  |  |
|  |  | brake |  |  |  |  |  |  | (G1) |  |  |  |  |
| 8th | 23rd | Measurements |  | of | torque |  |  | by | 16th | Revision |  |  |  |
|  |  | dynamometer, electrical strain |  |  |  |  |  |  | (G2) |  |  |  |  |
|  |  | gauges |  |  |  |  |  |  |  |  |  |  |  |
|  | 24th | Speed |  | measurements; |  |  |  |  |  |  |  |  |  |
|  |  | different methods |  |  |  |  |  |  |  |  |  |  |  |
|  | 25th | Revision & problem |  |  |  |  |  |  | 17th | Draw the characteristics of a |  |  |  |
|  |  | discussion |  |  |  |  |  |  | (G1) | potentiometer |  |  |  |
| 9th | 26th | Introduction |  | to |  | Pressure |  |  | 18th | Draw the characteristics of a |  |  |  |
|  |  | Measurement, |  |  |  | Bourdon |  |  | (G2) | potentiometer |  |  |  |
|  |  | pressure gauges |  |  |  |  |  |  |  |  |  |  |  |
|  | 27th | Electrical pressure pick ups |  |  |  |  |  |  |  |  |  |  |  |
|  | 28th | Principle and |  | construction of |  |  |  |  | 19th | Revision |  |  |  |
|  |  | Bourdon | pressure |  |  | gauges, |  |  | (G1) |  |  |  |  |
|  |  | pressure pick ups |  |  |  |  |  |  |  |  |  |  |  |
| 10th | 29th | Applications |  | of |  | Bourdon |  |  | 20th | Revision |  |  |  |
|  |  | pressure gauges and Electrical |  |  |  |  |  |  | (G2) |  |  |  |  |
|  |  | pressure pick ups |  |  |  |  |  |  |  |  |  |  |  |
|  | 30th | Use of pressure cells. |  |  |  |  |  |  |  |  |  |  |  |
|  | 31st | Introduction to Flow |  |  |  |  |  |  | 21st (G1) | To measure linear displacement |  |  |  |
| 11th |  | Measurement |  |  |  |  |  |  |  | using LVDT, Ultrasonic |  |  |  |
|  | 32nd | Basic principles of |  |  |  | magnetic |  |  | 22nd | To measure linear displacement |  |  |  |

|  |  |  | flow meters |  |  | (G2) | using LVDT, Ultrasonic |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 33rd | Basic | principles of magnetic |  |  |  |  |  |  |  |
|  |  |  | flow | meters, | ultrasonic flow |  |  |  |  |  |  |
|  |  |  | meters |  |  |  |  |  |  |  |  |
|  |  | 34th | Introduction |  | to Measurement | 23rd | Revision |  |  |  |  |
| 12th |  |  | of Temperature |  |  | (G1) |  |  |  |  |  |
|  |  | 35th | Bimetallic thermometer |  |  | 24th | Revision |  |  |  |  |
|  |  |  |  |  |  | (G2) |  |  |  |  |  |
|  |  | 36th | Thermoelectric thermometers |  |  |  |  |  |  |  |  |
|  |  | 37th | Resistance |  | thermometers, | 25th | To study the use of electrical |  |  |  |  |
|  |  |  | Thermocouple |  |  | (G1) | strain gauge |  |  |  |  |
| 13 | th | 38th | Thermisters and pyrometer |  |  | 26th | To | study | the use of | electrical |  |
|  |  |  |  |  |  | (G2) | strain gauge |  |  |  |  |
|  |  | 39th | Temperature recorders |  |  |  | To | study | weighing | machine |  |
|  |  |  |  |  |  |  | using load cell |  |  |  |  |
|  |  | 40th | Introduction to Measurement |  |  | 27th | To measure pH/ TPS/DO2 |  |  |  | value |
|  |  |  | of other non electrical |  |  | (G1) | of given solution. |  |  |  |  |
| 14th |  |  | quantities |  |  |  |  |  |  |  |  |
|  |  | 41st | Measurement of non electrical |  |  | 28th | To measure pH/ TPS/DO2 |  |  |  | value |
|  |  |  | quantity: humidity |  |  | (G2) | of given solution. |  |  |  |  |
|  |  | 42nd | Revision and problem |  |  |  | Revision |  |  |  |  |
|  |  |  | discussion |  |  |  |  |  |  |  |  |
|  |  | 43rd | Measurement of non electrical |  |  | 29th | Revision |  |  |  |  |
|  |  |  | quantity: pH level |  |  | (G1) |  |  |  |  |  |
| 15th |  | 44th | Measurement of non electrical |  |  | 30th |  |  |  |  |  |
|  |  |  | quantity: Vibrations |  |  | (G2) |  |  |  |  |  |
|  |  | 45th | Revision and problem |  |  |  |  |  |  |  |  |
|  |  |  | discussion |  |  |  |  |  |  |  |  |